## Sheet1
Appendix A.—Full data set—inorganic compounds and physical parameters (BDL = below detection limit; the detection limits for individual elements at each lab were not readily available at the time of publication, but can be obtained by contacting individual labs. Zero was used in place of BDL for analysis.)
| CollectionDate | SourceID | SamplingLocation | SampleTaker | AnalyzedBy | Lab | SampleNum | Arsenic | Barium | Cadmium | Chromium | Mercury | Selenium | Fluoride | NitrateN | Beryllium | Nickel | Antimony | Thallium | NitriteN | Cyanide | TotalNitrateNitrite | Iron | Manganese | Silver | Chloride | Sulfate | Zinc | Turbidity | Sodium | Hardness | Conductivity | Color | TDS | Lead | Copper | Orthophosphate | Silica | Aluminum | Alkalinity | Magnesium | Calcium | Ammonia
1 | 1994-10-01 | Mill Creek |  | Tom Krebs | P. Navaja | WA State Publ. Health Lab. | 925002 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL |  | BDL | BDL | BDL | BDL |  | BDL | 0.5 | BDL | 28 | 60 | 5 |  | BDL | BDL
2 | 1994-10-01 | Well 5 |  | Tom Krebs | P. Navaja | WA State Pub. Health Lab. | 5115102 | BDL | BDL | BDL | BDL | BDL | BDL | 0.8 | BDL | BDL | BDL | BDL | BDL | BDL | BDL |  | 0.73 | 0.102 | BDL | BDL |  | BDL | 3.7 | 30 | 53 | 210 | 5 |  | BDL | BDL
3 | 1993-11-01 | Mill Creek | inlet drinking water |  | Sherri Huber | Water Quality Lab. |  | 0.006 |  | 0.0001 | 0.002 | BDL | 0.001 | 0.1 | 1.2 |  | BDL |  |  | BDL |  |  | 0.555 | BDL | 0.0006 | 2.2 | 3.9 | BDL | 0.25 | 2 | 27.5 | 69 |  | 72 | BDL | BDL | 0.1 |  |  | 30 | 2 |  | BDL
4 | 1997-11-01 | Well 1 |  |  | L. Riojas | WW C-C Health Dept. | O8205341 | [7 empty] | 1.4
5 | 1997-11-01 | Mill Creek | Mill Creek |  | L. Riojas | WW C-C Health Dept. | 08205343 | [7 empty] | 0.5
6 | 1994-11-01 | Mill Creek | reservoir sediment |  | L. Lyons | WW DOH Lab. | 4700296Pb | 0.87 | 17.8 | BDL | 0.335 | BDL | BDL |  | 0.73 |  | 3.35 |  |  | 0.02 |  |  |  |  | 0.082 | 12.4 | 5 | 102 |  | 1.7 | 30.3 |  |  |  | 6.57 | 8.56 |  |  |  |  | 2.9 | 7.4 | 0.5
7 | 1998-11-01 | Mill Creek | Mill Creek just below dam |  | P. Hess | Inland Envl. Lab. | 1198522 | BDL | BDL | BDL | BDL | BDL | BDL | 0.052 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.132 | BDL | BDL | BDL | 0.8 | BDL | 0.87 | 2.29 | 20 | 55 | BDL | 65 | BDL | BDL
8 | 1980-12-01 | Mill Creek |  | Jim Morrow |  | WA State Pub. Health Lab. | 5402001 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | [9 empty] | BDL | [9 empty] | BDL
9 | 1987-12-01 | Mill Creek |  | Tom Gill |  | WA State Pub. Health Lab. | 5?10284 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.2 | [7 empty] | BDL | BDL | BDL | BDL |  |  | 4.6 | BDL | 20 | 70 | BDL |  | BDL
10 | 1987-12-01 | Well 5 |  | Tom Gill | P. Navaja | WA State Pub. Health Lab. | 5110283 | BDL | BDL | BDL | BDL | BDL | BDL | 0.8 | BDL | [7 empty] | 1.21 | 0.158 | BDL | BDL |  |  | 4 | 30 | 60 | 240 | 10 |  | BDL
11 | 1993-12-01 | Mill Creek | reservoir |  | Sherri Huber | Water Quality Lab. | [8 empty] | 0.6 |  |  |  |  | BDL
12 | 1980-12-01 | Well 1 |  | Tom Gill |  | WA State Pub. Health Lab. | 5?04310 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.9 | [7 empty] | BDL | BDL | BDL |  |  |  | 0.5 | BDL | 70 | 170 | BDL |  | BDL
13 | 1996-12-01 | Mill Creek |  | Tom Krebs | P Navaja | WA State Pub. Health Lab. | 5115485 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL |  | 0.16 | BDL | BDL | BDL |  | BDL | 1.1 | BDL | 22 | 50 | 10 |  | BDL | BDL
14 | 1996-12-01 | Well 1 |  | Tom Krebs | P. Navaja | WA State Pub. Health Lab. | 5115486 | BDL | BDL | BDL | BDL | BDL | BDL | 0.3 | 0.7 | BDL | BDL | BDL | BDL | BDL | BDL |  | BDL | BDL | BDL | BDL |  | BDL | 0.1 | 9 | 87 | 190 | 5 |  | BDL | BDL
15 | 1997-12-01 | Mill Creek | Intake screening bldg; hose bib on sample pump |  | SK/PO | WA State Pub. Health Lab. | 02315579 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL |  | 0.46 | BDL | BDL | BDL |  | BDL | 2.9 | BDL | 19 | 50 | 20 |  | BDL | BDL
16 | 1997-12-01 | Well 2 | hose bib at well head | Tom Krebs | P. Navaja | WA State Pub. Health Lab. | 925002 | BDL | BDL | BDL | BDL | BDL | BDL | 0.3 | 0.6 | BDL | BDL | BDL | BDL | BDL | BDL |  | BDL | BDL | BDL | BDL |  | BDL | 0.1 | 8 | 76 | 180 | 10 |  | BDL | BDL
17 | 1997-12-01 | Well 6 |  |  |  | WA State Pub. Health Lab. | 925002 | BDL | BDL | BDL | BDL | BDL | BDL | 0.7 | BDL | BDL | BDL | BDL | BDL | BDL | BDL |  | BDL | 0.011 | BDL | BDL |  | BDL | 0.1 | 21 | 71 | 230 | 5 |  | 0.002 | BDL
18 | 1989-12-01 | Mill Creek | 25 Whitman #4 | Debbie Riley |  | WA State Publ. Health Lab. | 5220006 | [15 empty] | BDL
19 | 1981-12-01 | Mill Creek |  | Tom Gill |  | WA State Pub. Health Lab. | 5105209 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | [7 empty] | 0.18 | BDL | BDL | BDL |  |  | 0.7 | BDL | 30 | 60 | BDL |  | BDL
20 | 1981-12-01 | WWCC |  |  |  | WA State Pub. Health Dept. | 5105208 | BDL | BDL | BDL | BDL | BDL | BDL | 0.2 | 0.3 | [7 empty] | BDL | BDL | BDL | BDL |  |  | 0.3 | 5 | 84 | 180 | BDL |  | BDL
21 | 1994-12-01 | Mill Creek | reservoir sediment |  | J. Blandard (?) | National Chem. Lab. | NCL Report #WE4120523 | 0.87 | 17.8 | BDL | 0.335 | BDL | BDL |  |  |  | 3.35 | [7 empty] | 0.082 |  |  | 102 | [6 empty] | 6.57 | 8.56
22 | 1979-03-01 | Mill Creek |  | Jim Morrow |  | WA State Pub. Health Lab. | 5103429 | BDL | BDL | BDL | BDL |  | BDL | 0.3 | 1.9 | [7 empty] | 0.2 | BDL | BDL |  |  |  | 2.2 |  | 16 |  | BDL |  | BDL
23 | 1980-03-01 | Well 1 |  | AL Prouty |  | WA State Pub. Health Lab. | 5?04036 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 7.4 | [7 empty] | 0.5 | 0.058 | BDL |  |  |  | 0.4 |  | 230 | 530 | 5 |  | BDL
24 | 1980-03-01 | Well 2 |  | Al Prouty |  | WA State Pub. Health Lab. | 5??4037 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 6.8 | [7 empty] | 0.4 | 0.023 | BDL |  |  |  | 1 |  | 210 | 480 | BDL |  | 0.015
25 | 1975-03-01 | Mill Creek |  | Jim Morrow |  | WA State Pub. Health Lab. | 51?7098 | [6 empty] | 0.3 | 0.5 |  |  |  |  | BDL |  | 0.5 | 0.15 | BDL |  | 3.5 |  |  | 0.5 | 1.6 | 44 |  |  | 66 |  |  |  | 14.4 |  | 52 | 5.8 | 8
26 | 1975-03-01 | WWCC |  | David Eaten |  | WA State Pub. Health Lab. | 511019 | [6 empty] | 0.3 | 0.3 |  |  |  |  | BDL |  | 0.3 | 0.08 | BDL |  | BDL | 1 |  | 0.3 | 7.6 | 60 |  | 5 | 104 |  |  |  | 32.8 |  | 69 | 5.4 | 15.2
27 | 1979-04-01 | Well 4 |  | David Eaton |  | WA State Pub. Health Lab. | 5103523 | BDL | BDL | BDL | BDL | BDL | BDL | 0.8 | 0.2 | [7 empty] | 0.7 | 0.042 | BDL |  |  |  | 0.9 |  | 70 |  | BDL |  | BDL
28 | 1975-04-01 | Well 7 |  |  |  | WA State Pub. Health Lab. | 51?1748 | [6 empty] | 0.6 | 0.5 |  |  |  |  | BDL |  | 0.5 | BDL | 0.05 |  | 4.5 | 1.5 |  | 0.3 | 16.4 | 64 |  | 4 | 168 |  |  |  | 71.9 |  | 83 | 4.9 | 17.6
29 | 1995-05-01 | Mill Creek | reservoir sediment | Tom Krebs | L. Lyons | Water Quality Lab. | 47-01955 | 0.076 | BDL | BDL | 0.57 |  | BDL |  |  |  | 0.118 | BDL | BDL |  | BDL | 0.446 |  | 4.016 | BDL |  |  | 0.758 | [5 empty] | 10.3 | BDL | 0.312
30 | 1975-06-01 | Well 3 |  | Greg Neustel |  | WA State Pub. Health Lab. | 51?1537 | [6 empty] | 0.4 | 0.3 |  |  |  |  | 0.01 |  | 0.3 | 0.08 |  |  | BDL | 5.8 |  | 0.4 | 8.9 | 76 |  | 1 | 128 |  |  |  | 37.2 |  |  | 7.3 | 18.4
31 | 1975-06-01 | Well 6 |  | Greg Neutstel |  | WA State Pub. Health Lab. | 5181536 | [6 empty] | 0.8 | 0.2 |  |  |  |  | 0.02 |  | 0.2 | 0.07 |  |  | 0.4 | 13.8 |  | 0.3 | 23.5 | 72 |  | 1 | 168 |  |  |  | 42.8 |  | 100 | 6.6 | 18
32 | 1983-07-01 | Mill Creek |  | Jim Morrow |  | WA State Pub. Health Lab. | 5?06617 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | [7 empty] | BDL | BDL | BDL | BDL |  |  | 0.2 | BDL | 20 | 70 | BDL |  | BDL
33 | 1989-07-01 | Mill Creek |  | Tom Krebs |  | WA State Pub. Health Lab. | 5111814 | BDL | BDL | BDL | BDL | BDL | BDL | 0.3 | 0.7 | [7 empty] | BDL | BDL | BDL | BDL |  | BDL | 0.1 | 10 | 100 | 210 | BDL |  | BDL | BDL
34 | 1989-07-01 | Well 1 |  | Tom Krebs | J. Davis | WA State Pub. Health Lab. | 5111815 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.5 | [7 empty] | BDL | BDL | BDL | BDL |  | BDL | 0.4 | BDL | 30 | 70 | BDL |  | BDL | BDL
35 | 1989-07-01 | Well 3 |  | Tom Krebs | J Davies | WA State Pub. Health Lab. | 5111816 | BDL | BDL | BDL | BDL | BDL | BDL | 0.3 | 0.6 | [7 empty] | BDL | BDL | BDL | BDL |  | BDL | 0.1 | 10 | 80 | 210 | BDL |  | BDL | BDL
36 | 1993-07-01 | Well 2 |  | Tom Gill |  | WA State Pub. Health Lab. | 5114618 | BDL | BDL | BDL | BDL | BDL | BDL | 0.3 | 0.5 | BDL | BDL | BDL | BDL | BDL | BDL |  | BDL | BDL | BDL | BDL |  | BDL | 0.1 | 8 | 75 | 180 | BDL |  | BDL | BDL
37 | 1993-07-01 | Mill Creek | reservoir |  | Sherri Huber | Water Quality Lab. |  | 0.004 |  | BDL | 0.001 | BDL | 0.002 | 0.032 | 1.07 |  | 0.018 |  |  | BDL |  |  | 0.144 | 0.002 | BDL | 4.78 | 66.35 | BDL | 0.48 | 0.86 | 26.72 | 73 |  | 69 | 0.002 | 0.013 | 1.49 |  |  |  | 1.97
38 | 1993-07-01 | Well 2 |  |  |  | Water Quality Lab. |  | 0.006 |  | BDL | 0.002 |  |  | 0.18 | 1.32 |  |  |  |  | BDL | [5 empty] | 5.35 | 67.19 |  | 0.45 |  | 77.32 | 202 |  | 122 |  | 0.009 | 0.9
39 | 1993-07-01 | Mill Creek |  | Tom Gill |  | WA State Pub. Health Lab. | 5114617 | BDL | BDL | BDL | BDL | BDL | BDL | 0.2 | 0.2 | BDL | BDL | BDL | BDL | 0.05 | 0.01 |  | BDL | BDL | BDL | 5 |  | BDL | 0.2 | BDL | 27 | 70 | 5 |  | BDL | BDL
40 | 1995-07-01 | Mill Creek | 1318 Sturm | Tom Krebs |  | Water Quality Lab. | 47-02057 | BDL |  |  |  |  | BDL |  | 0.23 |  |  |  |  | BDL |  |  |  | BDL | BDL |  |  | BDL | [6 empty] | 0.002 |  |  |  |  | 42
41 | 1990-07-01 | Mill Creek |  | Tom Gill |  | WA State Publ. Health Lab. | 5112612 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | [7 empty] | BDL | BDL | BDL | BDL |  | BDL | 0.3 | BDL | 20 | 70 | BDL |  | BDL | BDL
42 | 1990-07-01 | Well 6 |  | Tom Gill |  | WA State Pub. Health Lab. | 5112611 | BDL | BDL | BDL | BDL | BDL | BDL | 0.7 | BDL | [7 empty] | BDL | 0.013 | BDL | BDL |  | BDL | 0.2 | 25 | 80 | 240 | BDL |  | BDL | BDL
43 | 1984-07-01 | Mill Creek |  | Tom Gill |  | WA State Pub. Health Lab. | 5107395 | BDL | BDL | 0.012 | BDL | BDL | BDL | 0.3 | BDL | [7 empty] | 1.93 | 0.022 | BDL | BDL |  |  | 0.1 | BDL | 30 | 70 | BDL |  | BDL
44 | 1991-07-01 | Mill Creek |  | Tom Gill |  | WA State Publ. Health Lab. | 5113506 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | [7 empty] | BDL | BDL | BDL |  |  | BDL | 0.2 | BDL | 25 | 70 | BDL |  | BDL | BDL
45 | 1991-07-01 | Well 3 |  | Tom Gill |  | WA State Pub. Health Lab | 5113507 | BDL | BDL | BDL | BDL | BDL | BDL | 0.3 | 0.3 | [7 empty] | BDL | BDL | BDL | BDL |  | BDL | 0.1 | 9 | 77 | 200 | BDL |  | BDL | BDL
46 | 1985-07-01 | Mill Creek |  | Tom Gill |  | WA State Pub. Health Lab. | 5?08352 | BDL | BDL | 0.028 | BDL | 0.0007 | BDL | BDL | BDL | [7 empty] | 0.05 | BDL | BDL | BDL |  |  | 0.2 | BDL | 30 | 70 | BDL |  | BDL
47 | 1985-07-01 | Well 4 |  | Tom Gill | R. Lowe | WA State Pub. Health Lab. | 5?08356 | BDL | BDL | BDL | BDL | 0.0008 | BDL | 0.6 | BDL | [7 empty] | 0.39 | 0.039 | BDL | BDL |  |  | 0.9 | 20 | 90 | 230 | BDL |  | BDL
48 | 1983-08-01 | Well 3 |  | B. Jenkins | R. Lowe | WA State Pub. Health Lab. | 5106627 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.2 | [7 empty] | 0.09 | 0.013 | BDL | BDL |  |  | 0.3 | BDL | 40 | 110 | BDL |  | BDL
49 | 1989-08-01 | Well 2 |  | Tom Gill | J. Davies | WA State Pub. Health Lab. | 5219146 |  |  |  |  | BDL
50 | 1992-08-01 | Mill Creek |  | Tom Gill |  | WA State Pub. Health Lab. | 5114097 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | [7 empty] | BDL | BDL | BDL | BDL |  | BDL |  | BDL | 29 |  |  |  | BDL | BDL
51 | 1992-08-01 | Well 5 |  | Tom Gill |  | WA State Pub. Health Lab. | 5114098 | BDL | BDL | BDL | BDL | BDL | BDL | 0.9 | BDL | [7 empty] | BDL | BDL | BDL | BDL |  | BDL |  | 7 | 77 |  |  |  | BDL | BDL
52 | 1986-08-01 | Mill Creek |  | Tom Gill |  | WA State Pub. Health Lab. | 5109173 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | [7 empty] | BDL | BDL | BDL | BDL |  |  | 0.2 | BDL | 40 | 80 | BDL |  | BDL
53 | 1986-08-01 | Well 2 |  | Tom Gill | J. Davies | WA State Pub. Health Lab. | 5109172 | BDL | BDL | BDL | BDL | BDL | BDL | 0.2 | 1.1 | [7 empty] | BDL | BDL | BDL | BDL |  |  | 0.1 | BDL | 80 | 200 | BDL |  | BDL
54 | 1988-09-01 | Mill Creek | Twin Reservoirs | Tom Gill |  | WA State Pub. Health Lab. | 5217050 | [27 empty] | BDL
55 | 1995-09-01 | Mill Creek | upstream site 1 |  |  | Water Quality Lab. | (yearly report) | BDL | BDL | BDL | BDL | BDL | BDL | 0.4 | 0.3 | BDL | BDL | BDL | BDL | BDL | BDL |  | BDL | BDL | BDL | 1.5 |  | BDL | 0.09 | 2.7 | 16 | 72 | BDL |  | BDL | BDL
56 | 1995-09-01 | Well 7 |  |  |  | Water Quality Lab. | yearly inorganic analysis | BDL | BDL | BDL | BDL | BDL | BDL | 0.9 | 0.05 | BDL | BDL | BDL | BDL | BDL | BDL |  | BDL | 0.0182 | BDL | 3.4 |  | BDL | 0.37 | 22 | 37.4 | 201 | BDL |  | BDL | 0.004